## Sheet1
sl.no | line name | voltage | 24F length | Total 24F length | Total towers approx(T+S) | Tension Towers approx(T) (Nos) | Suspension Towers approx(S) (Nos) | Single Suspension Assembly (set) | Single Tesnsion Assembly For Dead End Location(Nos) | Double Tesnsion Assembly for Joint Box Location (Set) | Double Tesnion Assembly for Pass Through Location (Set) | Vibration damper with protection rod (Set) | Joint Box (No) | SURPLUS CABLE SUPPORT (Nos) | TOWER HEIGHT (m) | Downlead Clamp (Nos) | FODP(No) | Approach Cable(m) | HDPE Duct(m) | End Plug(no) | Pushfit Coupler(no) | Cable sealing(no) | U clamp(no)
1 | 400KV | 400 | 803.3
2 | 220KV | 220 | 2383.26
3 | 132KV | 132 | 6332.48
4 | 400KV | 400 | 46
5 | 220KV | 220 | 109
6 | 132KV | 132 | 1077.64
7 | 400KV | 400 | 249
8 | 220KV | 220 | 235
9 | 132KV | 132 | 0